NSTDA Characterization and Testing Service Center

| Sample Preparation |  |
| --- | --- |
| Description | Unit |
| 1. Precision Cut-off machine | Time |
| 2. Hot mounting | Time |
| 3. Vacuum Impregnation/Cold Mounting | Sample |
| 4. Polishing machine (Sandpaper, Diamond) | Sample |
| 5. Ion Milling | Hour |
| 6. CPD (Critical Point Dryer) | Time |
| 7. Freezer mill | Time |
| 8. Laser cutting | Hour |
| 9. CNC Milling (Computer Numerical Control) | Hour |
| 10. 3D Printing (Polylactic acid (PLA)) | Hour |
| Optical Microscope |  |
| Description | Unit |
| 1. Optical Microscope with High-definition color camera head (DS-Fi2) | Hour |
| 2. Optical Microscope with PC control-based control unit (DS-U3) | Hour |
| 3. Optical Microscope (Eclipse LV-N, LV100DA-U) With Function grain size and Cast iron (NIS Element D) | Hour |
| Melt Flow Index Test |  |
| Description | Unit |
| Common plastic - Method A: Manual cut-off (MFI, Melt Density) - Method B: Automatic method (MVR, MFI) :Customer already know Melt Density - Method C: Automatic method: Half Die (High MFI ≥ 70 g/10min) - Drying Oven Engineering plastic - Method A: Manual cut-off (MFI, Melt Density) - Method B: Automatic method (MVR, MFI) :Customer already know Melt Density - Method C: Automatic method: Half Die (High MFI ≥ 70 g/10min) - Drying Oven If the customer choose Method B and need Melt Density Calculation : (Extra charge) | Sample Sample Sample Sample Sample Sample Sample Sample |
| Heat Distortion Temperature Test |  |
| Description | Unit |
| 1. Operating Test | Test |

| Nano Search Microscope |  |  |
| --- | --- | --- |
| Description |  | Unit |
| 1. Operating time |  | Hour |
| 3D Digital Video Microscope |  |  |
| Description |  | Unit |
| 1. Operating time |  | Hour |
| Atomic Forced Microscope (AFM 5500 or AFM 5300) |  |  |
| Description |  | Unit |
| 1. Operating time |  | Hour |
| 2. AFM Image |  | Picture |
| Field Emission Scanning Electron Microscopes (FE-SEM) |  |  |
| Description |  | Unit |
| 1. Operating time |  | Hour |
| 2. SEM |  | Picture |
| 3. Coating |  | Time |
| 4. EDS (Energy Dispersive X-Ray Spectroscopy) |  | Picture |
| 5. EBSD (Electron Backscatter Diffraction) Mapping, Line scan, Point, Area |  | Picture |
| Transmission Electron Microscope (TEM) |  |  |
| Description |  | Unit |
| 1. Operating time |  |  |
| 2. TEM (Dark field, Bright field, Diffraction pattern) |  | Picture |
| 3. EDS (Energy Dispersive X-Ray Spectroscopy) Mapping, Line scan, Point, Area, Area scan |  | Picture |
| X-ray Photoelectron Spectroscopy (XPS) |  |  |
| Description |  | Unit |
| 1. XPS Component analysis |  | Hour |
| 2. Ultraviolet Photoelectron Spectroscopy (UPS)-Operation time |  | Element |
| 3. UPS-Component analysis |  | Element |
| 4. High temperature gas reaction cell-Operation time |  | Element |
| 5. High temperature gas reaction cell-Component analysis |  | Hour |
| Micro-Energy Dispersive X-ray Fluorescence Spectrometer (Micro-EDFRF) |  |  |
| Description |  | Unit |
| 1. Sample testing (1 point) |  | Sample |
| 2. Extra testing point in same sample |  | Point |
| 3. Sample preparation with film |  | Sample |
| 4. Testing with Helium path (For liquid sample) |  | Time |
| Single-Crystal X-ray Crystallography (SC-XRD) |  |  |
| Description |  | Unit |
| 1. Small molecule (Mole Molecule < 5,000) - Screen crystal with Optical Microscope and crystal mount - Screen crystal and unit cell checking - Full data collection (Room Temperature) - Full data collection (Low Temperature) - Analysis structure |  | Sample Hour Hour Hour Sample |
| 2. Macromolecule (Mole Molecule < 5,000) - Screen crystal with Optical Microscope and crystal mount - Screen crystal and unit cell checking - Full data collection (Room Temperature) - Full data collection (Low Temperature) - Analysis structure |  | Sample Hour Hour Hour Sample |
|  | Small Angle X-Ray Scattering (SAXS) |  |
| Description |  | Unit |
| 1. Operating time |  | Hour |
| 2. Nanostructure analysis |  | Hour |
|  | Wavelength Dispersive X-Ray Fluorescence (WDXRF) |  |
| Description |  | Unit |
| 1. Sample testing |  | Sample |
| 2. Sample Preparation |  | Sample |
|  | X-ray Powder Diffraction (XRD) |  |
| Description |  | Unit |
| 1. Sample preparation |  | Sample |
| 2. Sample testing |  | Sample |
|  | UV-Vis-NIR Spectrophotometer (UV-VIS-NIR) |  |
| Description |  | Unit |
| 1. Sample testing (30 minute) |  | Sample |
|  | Gas Chromatography - Mass Spectrometry (GC-MS) |  |
| Description |  | Unit |
| 1. Qualitative - Head space (Sample preparation, Customer condition, Trial Condition) - Auto Injection (Sample preparation, Customer condition, Trial Condition) |  | Sample Sample |

| Gas Chromatography - Mass Spectrometry (GC-MS) |  |
| --- | --- |
| Description | Unit |
| 2. Quantitative - Head space (Sample preparation, Calibration Curve , Customer condition, Trial Condition - Auto Injection (Sample preparation, Calibration Curve , Customer condition, Trial Condition | Sample Sample |
| Liquid Chromatography - Mass Spectrometry/ Mass Spectrometry (LC-MS/MS) |  |
| Description | Unit |
| 1. Trial condition within 3 h | Sample |
| 2. Customer condition | Sample |
| Liquid Chromatography -QTOF (LC-MS/QTOF) |  |
| Description | Unit |
| 1. Qualification (Trial Condition) | Sample |
| 2. Qualification (Condition) | Sample |
| 3. Quantitation (Trial Condition) | Sample |
| 4. Quantitation (Condition) | Sample |
| 5. MS Library search (10 Analyte) | Sample |
| 6. MS/MS Library search (10 Analyte) | Sample |
| Inductively Coupled Plasma - Atomic Emission Spectroscopy (ICP-AES) |  |
| Description | Unit |
| 1. 10 Elements (Digestion sample) | Sample |
| 2. Oil Sample Follow ASTM D5185 (22 Elements) | Sample |
| Inductively Coupled Plasma - Mass Spectrometry (ICP-MS) |  |
| Description | Unit |
| 1. 10 Elements (Digestion sample) | Sample |
| Gas Chromatography - Mass Spectrometry / Mass Spectrometry (GC-MS/MS) |  |
| Description | Unit |
| 1. Qualitative - EI mode : Auto –Injection (Trial Condition, Customer condition) - EI mode : Headspace (Trial Condition, Customer condition) - EI mode : SPME (Trial Condition, Customer condition) - NCI & CI mode : Auto – Injection (Trial Condition, Customer condition) - NCI & CI mode : Headspace (Trial Condition, Customer condition) - NCI & CI mode : SPME (Trial Condition, Customer condition) | Sample Sample Sample Sample Sample Sample |

| Gas Chromatography - Mass Spectrometry / Mass Spectrometry (GC-MS/MS) |  |
| --- | --- |
| Description | Unit |
| 2. Quantitative - EI mode : Auto –Injection - EI mode : Headspace - EI mode : SPME - NCI & CI mode : Auto – Injection - NCI & CI mode : Headspace - NCI & CI mode : SPME | Sample Sample Sample Sample Sample Sample |
| Imaging Mass Spectrometry (IMS) |  |
| Description | Unit |
| 1. Analysis | Sample |
| 2. Sample Preparation with Cryostat | Sample |
| High-performance liquid chromatography (HPLC) |  |
| Description | Unit |
| 1. Trial condition within 3 h | Sample |
| 2. Customer condition | Sample |
| Thermal Desorption System (TDS) |  |
| Description | Unit |
| 1. GC-MS with TDS for VOCs | Sample |
| 2. GC-MS with TDS for VOCs and DNPH | Sample |
| Differential Scanning Calorimeter (DSC) |  |
| Description | Unit |
| 1. Sample testing (-130 to 500 °C) | Sample |
| Thermogravimetric Analysis (TGA) |  |
| Description | Unit |
| 1. Sample testing (Ambient to 1,100 °C) | Sample |
| TMA |  |
| Description | Unit |
| 1. Sample testing | Sample |
| Raman Microscope |  |
| Description | Unit |
| 1. Operating time | Sample |
| Transmission Electron Microscope (TEM 120 kV) |  |
| Description | Unit |
| 1. Operating time | Hour |

| Transmission Electron Microscope (TEM 120 kV) |  |
| --- | --- |
| Description | Unit |
| 2. TEM Image | Picture |
| 3. EDS (Energy Dispersive X-Ray Spectroscopy) - Mapping/Line scan/Point scan/Area scan | Picture |
| Enzyme Activity Testing |  |
| Description | Unit |
| 1. Amylase | Sample |
| 2. Alpha-amylase | Sample |
| 3. Alpha-galactosidase | Sample |
| 4. Beta-glucanase | Sample |
| 5. Beta-glucosidase | Sample |
| 6. Beta-xylosidase | Sample |
| 7. Cellulase | Sample |
| 8. Cellulase (FPASE) | Sample |
| 9. Dextranase | Sample |
| 10. Invertase | Sample |
| 11. Laccase | Sample |
| 12. Lipase | Sample |
| 13. Mannanase | Sample |
| 14. Pectinase | Sample |
| 15. Phytase | Sample |
| 16. Protease | Sample |
| 17. Xylanase | Sample |
| 18. Pullulanase | Sample |
| 19. Glucoamylase | Sample |
| 20. Polyphenol oxidase | Sample |
| 21. Peroxidase | Sample |
| Real-time PCR |  |
| Description | Unit |
| 1. Real-time PCR | Hour |
| 2. GMOs - Quanlitative: GMO Screening test (35S CaMV – promoter, NOS – terminator) | Sample |
| 3. Meat species and authenticity - Quanlitative: Porcine (Pork) Screening test in Food and Feed - Quantitative detection of Porcine (Pork) DNA in Food and Feed | Sample |

| Protein analysis |  |
| --- | --- |
| Description | Unit |
| 1. Sodium dodecyl sulfate polyacrylamide gel electrophoresis (SDS-Page) Staining : Coomassie Brilliant Blue staining/Silver staining Gel Polyacrylamide percentage : 10%/12%/15% Protein marker : 10-250 kDa | Sample |
| 2. Protein Concentration - Bradford protein assay - Lowry protein assay - Biuret method | Sample Sample Sample |
| Anti-bacteria test |  |
| Description | Unit |
| 1. Qualitative: Antibacterial activity assessment of textile materials : Parallel streak method (AATCC 147) | Sample/Strain |
| 2. Qualitative: Testing for antibacterial activity and efficacy on textile products (JIS L 1902) | Sample/Strain |
| 3. Qualitative: Antimicrobial disk susceptibility tests (CLSI M02-A11) | Sample/Strain |
| 4. Quantitative: Antibacterial finishes on textile materials (AATCC 100) | Sample/Strain |
| 5. Quantitative: Testing for antibacterial activity and efficacy on textile products (JIS L 1902) | Sample/Strain |
| 6. Quantitative: Antibacterial products – Test for antibacterial activity and efficacy (JIS Z 2801) | Sample/Strain |
| 7. Quantitative: Measurement of antibacterial activity on plastics and other non-porous surfaces (ISO 22196) | Sample/Strain |
| 8. Quantitative: Determination of minimal inhibitory concentrations of aerobic bacteria (CLSI M07-A9) | Sample/Strain |
| 9. Quantitative: Standard test method for determining the antimicrobial activity of immobilized antimicrobial agents under dynamic contact conditions (ASTM E 2149) | Sample/Strain |
| Mutagenicity test |  |
| Description | Unit |
| 1. Bacterial reverse mutation test (Ames test) | Sample |
| Total plate count |  |
| Description | Unit |
| 1. Bacteria | Sample |
| 2. Yeast/Mold | Sample |
| 3. After sterilization | Sample |
| Selective and differential media |  |
| Description | Unit |
| 1. Escherichia coli | Sample |
| 2. Salmonella sp. | Sample |
| 3 Vibrio sp. | Sample |

| Selective and differential media |  |
| --- | --- |
| Description | Unit |
| 4. Staphylococcus sp. | Sample |
| 5. Pseudomonas aeruginosa | Sample |
| Disinfectant testing |  |
| Description | Unit |
| 1. AOAC official method 961.02 germicidal spray products as disinfectants | Sample |
| 2. Quantitative suspension test for the evaluation of bactericidal activity of chemical disinfectants and antiseptics used in food, industrial, domestic and institutional areas (EN 1276) | Sample |
| 3. AOAC Use Dilution Test (AOAC 955.14; 955.15; 964.02) | Sample |
| HPLC-FLD |  |
| Description | Unit |
| 1. HPLC-FLD : Trial condition within 3 h | Sample |
| 2. HPLC-FLD : Customer condition | Sample |
| 3. Amino acid analysis : Na-Type (17 amino acids) | Sample |
| 4. Amino acid analysis : Li-Type (38 amino acids) | Sample |
| GC-TCD/BID |  |
| Description | Unit |
| 1. Trial condition within 3 h | Sample |
| 2. Customer condition | Sample |
| HPLC-PDA/RI |  |
| Description | Unit |
| 1. Trial condition within 3 h (for 1 sample) | Sample |
| 2. Customer condition (for 1 sample) | Sample |
| Texture Analysis |  |
| Description | Unit |
| 1. Texture Analysis | Sample |
| Mechanical Property Testing |  |
| Description | Unit |
| 1. Tensile test (Rubber and Polymer) 10kN - 100kN, Static type | Sample |
| 2. Tensile test (Metals and Alloys) 25kN - 100kN, Dynamic type | Sample |
| 3. Flexural and Bending test (Polymer and composites) 10kN-100kN, Static type | Sample |
| 4. Flexural and Bending test (Metals and Alloys) 10kN - 100kN, Dynamic type | Sample |
| 5. Compressive test (Polymer) 10kN - 100kN, Static type | Sample |
| 6. Compressive test (Metals and Alloys) 10kN - 100kN, Dynamic type | Sample |
| 7. Torsion test (Metals and Alloys) (Max Torque 200 N·m) | Sample |

| Mechanical Property Testing |  |
| --- | --- |
| Description | Unit |
| 8. Impact test (Polymer) at 23±2 °C, 50±5 %RH (Izod and Charpy) | Sample |
| 9. Impact test (Polymer) at 21 °C to -40 °C (Izod and Charpy) | Sample |
| 10. Notching specimen for impact testing (ISO and ASTM) | Sample |
| 11. Die cutting specimen for tensile testing (ASTM D412) | Sample |
| 12. Ring Stiffness, HDPE | Sample |
| 13. Pipe Stiffness | Sample |
| 14. Fatique test (Polymer and Rubber) | Sample |
| 15. Fatique test (Metals and Alloys) | Sample |
| 16. Tensile test (Rubber and Polymer) 10kN-100kN, Static type at 25°C to 250°C | Sample |
| 17. Tensile test (Rubber and Polymer) 10kN-100kN, Static type at 21°C to -35°C | Sample |
| 18. Flexural and Bending test (Rubber and Polymer) 10kN-100kN, Static type at 25°C to 250°C | Sample |
| 19. Flexural and Bending test (Rubber and Polymer) 10kN-100kN, Static type at 21°C to -35°C | Sample |
| 20. Rockwell Hardness (5 points) | Sample |
| 21. Brinell Hardness (5 points) | Sample |
| 22. Vickers Microhardness (5 points) | Sample |
| 23. Vickers Microhardness (Depth Profile) | Sample |
| 24. Durometer Hardness (5 points) | Sample |
| Aflatoxin (Immunoaffinity Column by Fluorometry ) |  |
| Description | Unit |
| 1. Aflatoxin (Total) | Sample |
| 2. Aflatoxin M1 | Sample |
| 3. Orchatoxin | Sample |
| 4. Flumonizin | Sample |
| Food Allergen (ELISA Technique) |  |
| Description | Unit |
| 1. Crustacean | Sample |
| 2. Egg | Sample |
| 3. Gliadin | Sample |
| 4. Milk | Sample |
| 5. Peanut | Sample |
| 6. Sesame | Sample |
| Resistant Starch |  |
| Description | Unit |
| 1. Resistant Starch (%RS) | Sample |
| Amylose |  |
| Description | Unit |
| 1. Amylose Content (%AC) | Sample |
| Personal Protection Equipment Testing (PPE Testing) |  |
| Description | Unit |
| 1. Determination of a population of microorganisms on products (Cleanliness –microbial- EN ISO 11737-1) | Sample |
| 2. Resistance to wet bacterial penetration (EN ISO 22610) | Sample |
| 3. Resistance to dry bacterial penetration (EN ISO 22612) | Sample |
| Growth analysis |  |
| Description | Unit |
| 1. Growth analysis | Sample |
| Microwave Digestion (Milestone Model: UltraWAVE) |  |
| Description | Unit |
| 1. Microwave Digestion UltraWave for ICP-MS | Sample |
| 2. Microwave Digestion UltraWave for ICP-AES | Sample |
| Surface Analyzer (Physisorption and Chemisorption) |  |
| Description | Unit |
| 1. Physisorption-BET (Surface area) | Sample |
| 2. Physisorption-Isotherm (Surface area and porosity meter analyzer) | Hour |
| 3. Chemisorption-Static volumetric chemisorption | Sample |
| 4. Chemisorption-Temperature program (Oxidation/Reduction/Desorption) | Sample |
| Nanosizer (Dynamic light scattering : DLS) |  |
| Description | Unit |
| 1. Particle size analysis (For water dispersion sample) | Sample |
| 2. Particle size analysis (For solvents and oil dispersion sample) | Hour |
| 3. Zeta potential (For water dispersion sample) | Sample |
| 4. Zeta potential (For solvents and oil dispersion sample) | Sample |
| Electron Probe Microscope Analyzer (EPMA) |  |
| Description | Unit |
| 1. Operation time | Hour |
| 2. Imaging | Picture |
| 3. Elemental analysis-Line scan/Point scan/Area scan/ Mapping | Picture |

| Canabis Analytical Testing Laboratory (CATC) |  |
| --- | --- |
| Description | Unit |
| 1. พืชกัญชากัญชงแห้ง (วัตถุดิบ) (Dried Cannabis/Hemp, Raw materials) - การทดสอบหาปริมาณสารสำคัญ (Cannabinoids Testing) - การทดสอบหาสารเคมีกำจัดศตั รพู ืชตกค้าง (Pesticide Analysis/Screening) - การทดสอบหาปริมาณสารพิษจากเชื้อรา (Mycotoxins Analysis : Aflatoxin B1, B2 G1, G2, Ochratoxin A) - การทดสอบหาปริมาณโลหะหนักตกค้าง (Heavy Metals Analysis : As, Hg, Pb,Cd) - การทดสอบหาสารเทอร์ปีนเชิงคณุ ภาพ (Terpene Profiling) - การทดสอบหาเชื้อจุลินทรยี ์ปนเปอื้ น (Microbial Contamination) - การหาปรมิ าณความชื้น (Moisture Content) | Sample Sample Sample Sample Sample Sample Sample |
| 2. สารสกดั กัญชากัญชง (Cannabis/Hemp Extraction) - การทดสอบหาปริมาณสารสำคัญ (Cannabinoids Testing) - การทดสอบหาปริมาณตัวทำละลายตกค้าง (Residue Solvent Analysis) - การทดสอบหาสารเคมีกำจัดศตั รพู ืชตกค้าง (Pesticide Analysis/Screening) - การทดสอบหาปริมาณโลหะหนักตกค้าง (Heavy Metals Analysis : As, Hg, Pb,Cd) - การทดสอบหาเชื้อจุลินทรยี ์ปนเปอื้ น (Microbial Contamination) | Sample Sample Sample Sample Sample |
| Kratom Analytical Testing Laboratory |  |
| Description | Unit |
| 1. การทดสอบเชิงปริมาณ (Quantitative Analysis) - การทดสอบหาปริมาณสารสำคัญ (Mitragynine, 7-Hydroxy mitragynine) - การทดสอบหาปริมาณโลหะหนัก (Heavy Metals Analysis : As, Hg, Pb,Cd) - การทดสอบหาปริมาณความชื้น (Moisture Content) - การทดสอบหาเชื้อจุลินทรยี ์ปนเปอื้ น (Microbial Contamination) - การทดสอบหาสารเคมีกำจัดศตั รพู ืชตกค้าง (Pesticide Analysis) - การทดสอบหาปริมาณสารพิษจากเชื้อรา (Mycotoxins Analysis : Aflatoxin B1, B2 G1, G2, Ochratoxin A) | Sample Sample Sample Sample Sample Sample |
| 2. การทดสอบเชิงคุณภาพ - การทดสอบหาสารเทอร์ปีนเชิงคณุ ภาพ (Terpene Profiling) | Sample |

Contact NCTC

NSTDA Characterization and Testing Service Center 3rd Floor, Tower C, Inc 2 Building 142 Thailand Science Park,

Phahonyothin Roads, Klong Luang, Pathum Thani 12120 Tel. 0 2117 6850 Email : nctc@nstda.or.th